ПРИЛОЖЕНИЕ

к аттестату аккредитации

Nо BY / 112 02.5.0.0002

от 27.12. 2002 г.

на 1 листе

# ОБЛАСТЬ АККРЕДИТАЦИИ

###### калибровочной лаборатории

фирмы EMERSON Process Management Rosemount Inc.

|  | Код вида измерений | Наименование измеряемых величин | Метрологические характеристики |  |
| --- | --- | --- | --- | --- |
|  |  |  | Диапазон измерений | Погрешность |
|  | 2 | 3 | 4 | 5 |
| 1 | 7 | # Измерение расхода и # количества жидкостей # и газов | от 0,06 до 1,5 кг/с от 0,17 до 10 кг/с от 0,68 до 36 кг/с от 2,5 до 140 кг/с от 10 до 540 кг/с |  0,031 %  0,032 %  0,033 %  0,031 %  0,121 % |

Руководитель

Национального органа по аккредитации 		            В.Н. Корешков

ANNEX

to the certificate of accreditation

Nо BY / 112 02.5.0.0002

of 27.12. 2002.

1 page

# SCOPE OF ACCREDITATION

###### of EMERSON Process Management Rosemount Inc.

###### accredited calibration laboratory

|  | Code of measurements | Field of measurements | Metrological characteristics |  |
| --- | --- | --- | --- | --- |
|  |  |  | Range of measurements | Error limits |
|  | 2 | 3 | 4 | 5 |
| 1 | 7 | # Flow measurements and measurements of quantities of fluids and gases | from 0,06 to 1,5 kg/s from 0,17 to 10 kg /s from 0,68 to 36 kg /s from 2,5 to 140 kg /s from 10 to 540 kg /s |  0,031 %  0,032 %  0,033 %  0,031 %  0,121 % |

Head

of the National accreditation body					V.N. Koreshkov