“NATIONAL ACCREDITATION SYSTEM OF THE REPUBLIC OF BELARUS REPUBLICAN UNITARY ENTERPRISE 
“BELARUSIAN STATE ACCREDITATION CENTRE”

##### Attachment No.1 to accreditation certificate

No. BY/112.1.0434

dated November 15.2004

on form No.

on 16 sheets

Edition 01

SCOPE OF ACCREDITATION dated November 19, 2015

of footwear and leather accessories testing laboratory

of the Research Republican Unitary Enterprise

"Light Industry Research Center"

| No. | Name of the test object | Code | Specification of the test object | Laws and Regulations, including Technological Regulations (TR) establishing requirements for |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | the test object | the test method |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1.1 | Footwear, materials for its manufacturing | А57.Б46 | Preparation of samples / sampling | GOST 1135-2005 GOST 26167-2005 GOST 26165-2003 GOST 28507-99 STB 1042-97 TR and other documentation | GOST 9289-78 GOST 126-79 GOST 1059-72 GOST 6410-80 GOST 5375-79 GOST 14037-79 |
| 1.2 |  | А57.Б39 | Strength of sewn seams of upper parts connections | GOST 1135-2005 GOST 26165-2003 GOST 26167-2005 GOST 28507-99 STB 1737-2007 TR and other documentation | GOST 9290-76 |
| 1.3 |  | А57.Б39 | Soles fixation strength | GOST 1135-2005 GOST 26165-2003 GOST 26167-2005 GOST 28507-99 STB 1737-2007 TR and other documentation | GOST 9292-82 |
| 1.4 |  | А57.Б39 | Bottom parts fixation strength | GOST 1135-2005 GOST 26165-2003 GOST 26167-2005 GOST 28507-99 STB 1737-2007 TR and other documentation | GOST 9134-78 GOST 9292-82 GOST 9290-76 |
| 1.5 |  | А57.Б39 | Heel fixation strength | GOST 1135-2005 GOST 26167-2005 GOST 28507-99 STB 1042-97 STB 1737-2007 TR and other documentation | GOST 9136-72 |

leading assessor’s signature

13.11.2015	Sheet 1 Sheets 16

TCA date

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |
| 1.6 | Footwear, materials for its manufacturing | А57.Б39 | External protecting toes fixation strength | GOST 28507-99 TR and other documentation | GOST 12.4.106-81 |
| 1.7 |  | А57.Б39 | Toe puff and back deformation | GOST 26165-2003 GOST 26166-84 GOST 26167-2005 STB 1737-2007 TR and other documentation | GOST 9135-2004 |
| 1.8 |  | А57.Б29 | Flexibility | GOST 26165-2003 GOST 26166-84 GOST 26167-2005 STB 1737-2007 TR and other documentation | GOST 9718-88 |
| 1.9 |  | А57.Б99 | Electrostatic field strength level | GOST 6410-80 GOST 1135-2005 GOST 19116-2005 GOST 26165-2003 GOST 26167-2005 STB 1049-97 TR and other documentation | SanPin No.9-29.7- 95 |
| 1.10 |  | А57.Б29 | Mass of footwear half pair | GOST 1135-2005 GOST 26165-2003 GOST 26167-2005 GOST 28507-99 STB 1737-2007 TR and other documentation | GOST 28735-2005 |
| 1.11 |  | А57.Б29 | Linear size (height of heel /height of heel seat region; thickness of parts; footwear elevation | GOST 126-79 GOST 6410-80 GOST 26165-2003 STB 1737-2007 TR and other documentation | STB 1142-99 GOST 6410-80 cl. 4.2, 4.3, 4.4 GOST 126-79 cl. 4.2, 4.3 GOST 9155-88 cl. 3.2 GOST 14037-79 cl. 4.2, 4.3 |
| 1.12 |  | А57.Б99 | Water-proofing | GOST 126-79 GOST 6410-80 TR and other documentation | GOST 126-79 cl.4.9 GOST 6410-80 cl.4.9 |
| 1.13 |  | А57.Б39 | Strength of rubber bootie connection with textile upper part | GOST 9155-88 GOST 6768-75 TR and other documentation | GOST 9155-88 cl. 3.5 GOST 6768-75 |
| 1.14 |  | А57.Б31 | Availability of reinforced shank | GOST 6410-80 TR and other documentation | GOST 6410-80 cl.2.3 |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |

| 1.15 | Footwear, materials for its manufacturing | А57.Б31 | Availability of required structural elements (visually) | GOST 28507-99 GOST 12.4.032-95 GOST 12.4.033-95 GOST 12.4.137-2001 TR and other documentation | GOST 28507-99 cl. 5.4 GOST 12.4.032-95 cl. 4.4, 4.5, 4.5.1 GOST 12.4.033-95 cl. 4.4 GOST 12.4.137- 2001 cl. 5.4 |
| --- | --- | --- | --- | --- | --- |
| 1.16 |  | А57.Б31 | Availability of open and non-fixed seat region of footwear (visually) | GOST 26165-2003 TR and other documentation | GOST 26165-2003 cl. 6.9 |
| 1.17 |  | А57.Б31 | Aqueous medium среда: | Instruction 1.1.10-12-96- 2005 TR and other documentation | МG 4.1/4.3 1485- 03 cl. 3.1 (Instruction No. 880-71) Instruction 1.1.10-12-96-2005 п.п. 22, 24 |
|  |  |  | Odor intensity |  |  |
| 1.18 |  | А57.Б27 | Toxicity index |  | GOST R 53485-2009 МG cl.1.037-95 |
| 1.19 |  | А57.Б09 | Content / mass fraction of formaldehyde |  | GOST ISO 17226- 2-2011 GOST 25617-83 GOST 31280-2004 |
| 1.20 |  | А57.Б09 | Mass fraction of water washable chromium (VI) |  | GOST 31280-2004 |
| 1.21 |  | А57.Б09 | Mass fraction of free sulfuric acid (by water extract) |  | GOST 314-72 cl.2.6 GOST 1059-72 cl.2.6 |
| 1.22 |  | А57.Б09 | рН of fur skin water extract |  | GOST R 53017- 2008 |
| 1.23 |  | А57.Б09 | Acetaldehyde |  | МR 01.024-07 МM МN 2558- 2006 |
| 1.24 |  | А57.Б09 | Benzene |  | МR 01.024-07 |
| 1.25 |  | А57.Б09 | Methyl alcohol (methanol) |  |  |
| 1.26 |  | А57.Б09 | Toluene |  |  |
| 1.27 |  | А57.Б09 | Acrylonitril |  | МR 01.024-07 МG No.11-12-25-96 |
| 1.28 |  | А57.Б09 | Acetone |  | МR 01.024-07 МM МN 2558- 2006 |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |
| 1.29 | Footwear, materials for its manufacturing | А57.Б09 | Vinyl acetate | Instruction 1.1.10-12-96- 2005 TR and other documentation | МR 2915-82 |
| 1.30 |  |  | HMDA |  | МR 1503-76 |
| 1.31 |  |  | Dimethyl therephthalate |  | МM МN 2367- 2005 |
| 1.32 |  |  | Dimethyl formamide |  | МG No.11-12-26-96 |
| 1.33 |  |  | Dibutyl phthalate |  | Instruction 4.1.10-15-92-2005 МR 01.025-07 |
| 1.34 |  |  | Dioctyl phthalate |  |  |
| 1.35 |  |  | Caprolactam |  | МG 4.1.1209-03 |
| 1.36 |  |  | Thiuram Е |  | Instruction 4.1.10-15-92-2005 |
| 1.37 |  |  | Phenol |  | МM МN 1924- 2003 |
| 1.38 |  |  | Chloroethene (vinyl chloride) |  | МR 1941-78 |
| 1.39 |  |  | Ethylene glycol |  | Instruction 2.3.3.10-15-64-2005 Instruction No. 880-71 |
| 1.40 |  |  | Methyl methacrylate |  | МG 4.1.025-95 |
| 1.41 |  | А57.Б16 | Cadmium |  | STB GOST R 51309-2001 section 4 МM.МN 3057- 2008 |
| 1.42 |  |  | Zink |  |  |
| 1.43 |  |  | Cobalt |  |  |
| 1.44 |  |  | Copper |  |  |
| 1.45 |  |  | Nickel |  |  |
| 1.46 |  |  | Lead |  |  |
| 1.47 |  |  | Chromium |  |  |
| 1.48 |  |  | Arsenic |  | STB GOST R 51309-2001 р.4 |
| 1.49 |  |  | Mercury |  | STB GOST R 51212-2001 |
| 1.50 |  | А57.Б09 | Air medium: |  | МG 4.1.1044а-01 |
|  |  |  | Acrylonitril |  |  |
| 1.51 |  |  | Dimethyl formamide |  |  |
| 1.52 |  |  | Acetone |  | МR 01.022-07 |
| 1.53 |  |  | Acetaldehyde |  |  |
| 1.54 |  |  | Methyl alcohol (methanol) |  |  |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |
| 1.55 | Footwear, materials for its manufacturing | А57.Б09 | Dimethyl therephthalate | Instruction 1.1.10-12-96- 2005 TR and other documentation | МG No. 2704-83 |
| 1.56 |  |  | Caprolactam |  | МR No. 1328-75 |
| 1.57 |  |  | Benzene |  | МR 01.023-07 |
| 1.58 |  |  | Toluene |  |  |
| 1.59 |  |  | Vinyl acetate |  | МR 2915-82 |
| 1.60 |  |  | Dibutyl phthalate |  | GOST 26150-84 |
| 1.61 |  |  | Dioctyl phthalate |  |  |
| 1.62 |  |  | Phenol |  | МG 4.1.598-96 |
| 1.63 |  |  | Formaldehide |  | МG No. 266-92 |
| 1.64 |  |  | M. methacrylate |  | МG 4.1.025-95 |
| 1.65 |  |  | Chloroethene (vinyl chloride) |  | МG 4.1.1957-05 |
| 1.66 |  |  | Ethylene glycol |  | МG No. 3999-85 |
| 1.67 |  | А57.Б27 | Toxicity index |  | МR No.29 FC/2688- 03 МG 1.1.037-95 |
| 1.68 |  | А57.Б09 | Identification (determination of applied materials) | GOST 26165-2003 GOST 1135-2005 TR and other documentation | STB 2132-2010 |
| 1.69 |  | А57.Б31 | Marking /identification (visually) | GOST 1135-2005 GOST 6410-80 GOST 26167-2005 GOST 28507-99 STB 931-93 TR and other documentation | GOST 7296-2003 section 3 STB 490-2002 cl. 3.24 GOST 126-79 cl.5.1 GOST 6410-80 cl. 2.16 STB 1737-2007 cl. 7.11 STB 287-2004 cl. 3.16 STB 1135-2005 cl. 6.10 GOST 14037-79 cl. 2.11 STB 490-2002 cl. 3.24 GOST 27837-88 cl. 1.1, 1.3 GOST 287-2004 cl. 3.16 |
| 1.70 |  | А57.Б31 | Determination of fixation method (visually) | GOST 26165-2003 cl.4.3 GOST 26167-2005 cl.4.5.2 TR and other documentation | GOST 23251-83 |
| 1.71 |  | А57.Б29 | Climate conditions of tests performance | GOST 1135-2005 GOST 26165-2003 GOST 26167-2005 TR and other documentation | STB ISO 139-2008 STB ISO 18454- 2006 МG 4.1/4.3 1485- 03 |

| 1 |  | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- | --- |
| 2.1 | Leather haberdashery |  | А56.Б46 | Preparation of samples / sampling Пробоподготовка | GOST 28631-2005 | GOST 28631-2005 |
|  | articles (bags, |  | А57.Б46 | samples /sampling | GOST 28846-90 | GOST 28846-90 |
|  | suitcases, brief |  | А100.Б46 |  | GOST 28754-90 | GOST 28754-90 |
|  | cases, knapsacks, |  |  |  | TR and other documentation | Instruction |
|  | files and other |  |  |  |  | 1.1.10-12-96-2005 |
|  | articles, petty |  |  |  |  | МG 4.1/4.3.1485- |
|  | leather haberdashery |  |  |  |  | 03 |
| 2.2 | articles, gloves, |  | А56.Б39 А57.Б39А100.Б39 | Strength of load-carrying seams of articles bodies |  | GOST 28631-2005 cl. 7.5 GOST 28846-90 cl. 4.3 |
|  | mittens, waist |  |  |  |  |  |
|  | belts, watch bands, |  |  |  |  |  |
|  | and other similar |  |  |  |  |  |
| 2.3 | articles), |  | А56.Б39 А57.Б39 А100.Б39 | Breaking load of handles fixing units or maximum load | GOST 28631-2005 TR and other documentation | GOST 28631-2005 cl. 7.5 |
|  | materials for making them |  |  |  |  |  |
|  | their manufacturing |  |  |  |  |  |
| 2.4 |  |  | А56.Б39 А57.Б39 А100.Б39 | Color resistance to dry and wet friction /peeling | GOST 28631-2005 GOST 28846-90 GOST 28754-90 TR and other documentation | GOST 28631-2005 cl. 7.4 GOST 28846-90 cl. 4.3 GOST 28754-90 cl. 4.3 |
| 2.5 |  |  | А56.Б99 А57.Б99 А100.Б99 | Electrostatic field strength level | GOST 28631-2005 GOST 28846-90 GOST 28754-90 TR and other documentation | SanPin No.9-29.7- 95 |
| 2.6 |  |  | А56.Б29 А57.Б29 А100.Б29 | Mass of article | GOST 28631-2005 TR and other documentation | GOST 28631-2005 cl. 7.3 |
| 2.7 |  |  | А56.Б29 А57.Б29 А100.Б29 | Linear sizes / main parameters and sizes | GOST 28631-2005 GOST 28754-90 TR and other documentation | GOST 28631-2005 cl. 7.2 GOST 28754-90 section 4 |
| 2.8 |  |  | А56.Б1 | Aqueous medium | Instruction 1.1.10-12-96- | МG 4.1/4.3 1485- |
|  |  |  |  | Odor intensity |  |  |
|  |  |  | А57.Б31 |  | 2005 | 03 cl. 3.1 (Инстр. |
|  |  |  | А100.Б31 |  | Sanitary standards, rules and hygienicv Санитарные нормы, | No. 880-71) |
|  |  |  |  |  | hygienic regulations “Hygienic ла и гигиенические | Instruction |
|  |  |  |  |  | “Hygienic requirements to knapsacks | 1.1.10-12-96-2005 |
|  |  |  |  |  | knapsacks, students’ brief casesтребования к ранцам, | cl. 22, 24 |
| 2.9 |  |  | А56.Б27 | Toxicity index | cases (approved by Resolution | GOST Р 53485- |
|  |  |  | А57.Б27 |  | of the Ministry of Health Care | 2009 |
|  |  |  | А100.Б27 |  | Care of the Republic of Belarus | МG 1.1.037-95 |
| 2.10 |  |  | А56.Б09 А57.Б09 А100.Б09 | Content / mass fraction of free formaldehyde | Belarus04.03.2010 No.22) | GOST ISO 17226- 2-2011 GOST 25617-83 GOST 31280-2004 |
|  |  |  |  |  | TR and other documentation |  |
| 2.11 |  |  | А56.Б09 А57.Б09 А100.Б09 | Mass fraction of water washable chromium (VI) |  | GOST 31280-2004 |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |

| 2.12 | Leather haberdashery articles (bags, suitcases, brief cases, knapsacks, files and other articles, petty leather haberdashery articles, gloves, mittens, waist belts, watch bands, and other similar articles), materials for their manufacturing | А56.Б09 А57.Б09 А100.Б09 | рН of fur skin aqueous extract | Instruction 1.1.10-12-96- 2005 Sanitary standards, rules and hygienic regulations “Hygienic requirements to knapsacks, students’ brief cases (approved by Resolution of the Ministry of Health of the Republic of Belarus 04.03.2010 No.22) TR and other documentation | GOST R 53017- 2008 |
| --- | --- | --- | --- | --- | --- |
| 2.13 |  | А56.Б09 А57.Б09 А100.Б09 | Acetaldehyde |  | МR 01.024-07 МM МN 2558- 2006 |
| 2.14 |  |  | Acrylonitril |  | МR 01.024-07 МG No.11-12-25-96 |
| 2.15 |  |  | Acetone |  | МR 01.024-07 МM МN 2558- 2006 |
| 2.16 |  |  | Vinyl acetate |  | МR 2915-82 |
| 2.17 |  |  | HMDA |  | МR 1503-76 |
| 2.18 |  |  | Dimethyl terephthalate (DMT) |  | МG 4.1.025-95 МM МN 2367- 2005 |
| 2.19 |  |  | Dimethyl formamide |  | МG No.11-12-26-96 |
| 2.20 |  |  | Dibutyl phthalate Dioctyl phthalate |  | МR 01.025-07 |
|  |  |  |  |  | Instruction |
| 2.21 |  |  | Dioctyl phthalate |  |  |
|  |  |  |  |  | 4.1.10-15-92-2005 |
| 2.22 |  |  | Methyl methacrylate |  | МG 4.1.025-95 |
| 2.23 |  |  | Caprolactam |  | МG 4.1.1209-03 |
| 2.24 |  |  | Thiuram Е |  | Instruction 4.1.10-15-92-2005 |
| 2.25 |  |  | Phenol |  | МM МN 1924- 2003 |
| 2.26 |  | А56.Б09 А57.Б09А100.Б09 | Vinyl chloride (chloroethene) |  | МР 1941-78 |
| 2.27 |  |  | Ethylene glycol |  | Instruction 2.3.3.10-15-64-2005 Instruction No. 880-71 |
| 2.28 |  |  | Benzene |  | МR 01.024-07 |
| 2.29 |  |  | Toluene |  |  |
| 2.30 |  | А56.Б16 | Zink |  | STB GOST R |
| 2.31 |  | А57.Б16 | Cobalt |  | 51309-2001 sect. 4 |
|  |  | А100.Б16 |  |  | МM.МN 3057- |
| 2.32 |  |  | Copper |  |  |
|  |  |  |  |  | 2008 |
| 2.33 |  |  | Nickel |  |  |
| 2.34 |  |  | Lead |  |  |
| 2.35 |  |  | Chromium |  |  |
| 2.36 |  |  | Arsenic |  | STB GOST R 51309-2001 sect. 4 |
| 2.37 |  |  | Mercury |  | STB GOST R 51212-2001 |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |

| 2.38 | Leather haberdashery articles (bags, suitcases, brief cases, knapsacks, files and other articles, petty leather haberdashery articles, gloves, mittens, waist belts, watch bands, and other similar articles), materials for their manufacturing | А56.Б27 А57.Б27 А100.Б27 | Air medium: | Instruction 1.1.10-12-96- 2005 Sanitary standards, rules and hygienic regulations “Hygienic requirements to knapsacks, students’ brief cases (approved by Resolution of the Ministry of Health of the Republic of Belarus04.03.2010 No.22) TR and other documentation | МG 1.1.037-95 МR No.29 ФЦ/2688- 03 |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Toxicity index |  |  |
| 2.39 |  | А56.Б09 А57.Б09 А100.Б09 | Acrylonitril |  | МG 4.1.1044а-01 |
| 2.40 |  |  | Dimethyl formamide |  |  |
| 2.41 |  |  | Acetaldehyde |  | МR 01.022-07 |
| 2.42 |  |  | Acetone |  | МR 01.022-07 |
| 2.43 |  |  | Vinyl acetate |  | МR 2915-82 |
| 2.44 |  |  | Phenol |  | МG 4.1.598-96 |
| 2.45 |  |  | Formaldehyde |  | МG No. 266-92 |
| 2.46 |  |  | Dimethyl terephthalate |  | МG No. 2704-83 |
| 2.47 |  |  | Dioctyl phthalate |  | GOST 26150-84 |
| 2.48 |  |  | Dibutyl phthalate |  |  |
| 2.49 |  |  | Caprolactam |  | МR No. 1328-75 |
| 2.50 |  | А56.Б09 А57.Б09 А100.Б09 | M. methacrylate |  | МG 4.1.025-95 |
| 2.51 |  |  | Vinyl chloride |  | МG 4.1.1957-05 |
| 2.52 |  |  | Ethylene glycol |  | МG No.3999-85 |
| 2.53 |  |  | Benzene |  | МR 01.023-07 |
| 2.54 |  |  | Toluene |  |  |
| 2.55 |  | А56.Б09 А57.Б09 А100.Б09 | Identification (determination of applied materials) |  | STB 2132-2010 |
| 2.56 |  | А56.Б31 А57.Б31 А100.Б31 | Availability of rigid back (visually) |  | GOST 28631-2005 cl. 7.1 |
| 2.57 |  | А56.Б31 А57.Б31 А100.Б31 | Availability of light reflecting elements (visually) |  | GOST 28631-2005 cl. 7.1 |
| 2.58 |  | А56.Б09 | Color resistance to sweating |  | STB 1049-97 |
|  |  | А57.Б09 | sweating |  | Attachment А, |
|  |  | А100.Б09 |  |  | GOST 9733.0-83 |
|  |  |  |  |  | cl. 1.1.5, 1.1.6, |
|  |  |  |  |  | 1.1.7.2, 4.1 |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |

| 3.1 | Leather and leather articles, clothing. Fur and fur articles, clothing | А56.Б46 А57.Б46 | Preparation of samples / sampling | Instruction 1.1.10-12-96- 2005 TR and other documentation | GOST 938.0-75 Instruction 1.1.10-12-96-2005 |
| --- | --- | --- | --- | --- | --- |
| 3.2 |  | А56.Б09 А57.Б09 | Identification (determination of applied materials) |  | STB 2132-2010 |
| 3.3 |  | А56.Б39 | Color resistance to dry and wet friction /peeling Устойчивость |  | GOST 938.29-2002 |
|  |  | А57.Б39 | dry and wet |  | sections 1-3 |
|  |  |  | friction |  | GOST 9733.0-83 |
|  |  |  |  |  | cl. 1.1.5, 1.1.6, |
|  |  |  |  |  | 1.1.7.2, 4.1 |
| 3.4 |  | А56.Б09 | Color resistance to dry and wet friction /peeling Устойчивость |  | STB 1049-97 |
|  |  | А57.Б09 | sweating |  | Attachment А |
|  |  |  |  |  | GOST 9733.0-83 |
|  |  |  |  |  | cl. 1.1.5, 1.1.6, |
|  |  |  |  |  | 1.1.7.2, 4.1 |
| 3.5 |  | А56.Б27 | Aqueous medium среда: |  | GOST R 53485- |
|  |  |  | Toxicity medium |  |  |
|  |  | А57.Б27 |  |  | 2009 |
|  |  |  |  |  | МG 1.1.037-95 |
| 3.6 |  | А56.Б31 | Odor intensity |  | МG 4.1/4.3 1485- |
|  |  | А57.Б31 |  |  | 03 cl. 3.1 (Инстр. |
|  |  |  |  |  | No. 880-71) |
|  |  |  |  |  | Instruction |
|  |  |  |  |  | 1.1.10-12-96-2005 |
|  |  |  |  |  | cl. 22, 24 |
| 3.7 |  | А56.Б09 А57.Б09 | Content / mass fraction of free formaldehyde |  | GOST ISO 17226- 2-2011 GOST 25617-83 GOST 31280-2004 |
| 3.8 |  | А56.Б09 А57.Б09 | Mass fraction of water washable chromium (VI) |  | GOST 31280-2004 |
| 3.9 |  | А56.Б09 А57.Б09 | рН of fur skin aqueous extract |  | GOST R 53017- 2008 |
| 3.10 |  | А56.Б09 А57.Б09 | Acetaldehyde |  | МR 01.024-07 МM МN 2558- 2006 |
| 3.11 |  |  | Acrylonitril |  | МR 01.024-07 МG No.11-12-25-96 |
| 3.12 |  |  | Acetone |  | МR 01.024-07 МM МN 2558- 2006 |
| 3.13 |  |  | Vinyl acetate |  | МR2915-82 |
| 3.14 |  |  | HMDA |  | МR 1503-76 |
| 3.15 |  |  | Dimethyl terephthalate (DMT) |  | МG 4.1.025-95 МM МN 2367- 2005 |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |

| 3.16 | Leather and leather articles, clothing. Fur and fur articles, clothing | А56.Б09 А57.Б09 | Dimethyl formamide | Instruction 1.1.10-12-96- 2005 TR and other documentation | МG No.11-12-26-96 |
| --- | --- | --- | --- | --- | --- |
| 3.17 |  |  | Dibutyl phthalate |  | Instruction 4.1.10-15-92-2005 МR 01.025-07 |
| 3.18 |  |  | Dioctyl phthalate |  |  |
| 3.19 |  |  | Methyl methacrylate |  | МG 4.1.025-95 |
| 3.20 |  |  | Caprolactam |  | МG 4.1.1209-03 |
| 3.21 |  |  | Thiuram Е |  | Instruction 4.1.10-15-92-2005 |
| 3.22 |  |  | Phenol |  | МM МN 1924- 2003 |
| 3.23 |  |  | Chloroethene (vinyl chloride) |  | МR 1941-78 |
| 3.24 |  |  | Ethylene glycol |  | Instruction 2.3.3.10-15-64-2005 Instruction No. 880-71 |
| 3.25 |  |  | benzene |  | МR 01.024-07 |
| 3.26 |  |  | Toluene |  |  |
| 3.27 |  |  | Methyl alcohol |  |  |
| 3.28 |  | А56.Б16 А57.Б16 | Zink |  | STB GOST R 51309-2001 р.4 МM.МN 3057- 2008 |
| 3.29 |  |  | Cobalt |  |  |
| 3.30 |  |  | Copper |  |  |
| 3.31 |  |  | Nickel |  |  |
| 3.32 |  |  | Lead |  |  |
| 3.33 |  |  | Chromium |  |  |
| 3.34 |  |  | Arsenic |  | STB GOST R 51309-2001 р.4 |
| 3.35 |  |  | Mercury |  | STB GOST R 51212-2001 |
| 3.36 |  | А56.Б27 А57.Б27 | Air medium: |  | МG 1.1.037-95 МR No.29 MG/2688- 03 |
|  |  |  | Toxicity index |  |  |
| 3.37 |  | А56.Б09 А57.Б09 | Formaldehyde |  | МG No. 266-92 |
| 3.38 |  |  | Acrylonitril |  | МG 4.1.1044а-01 |
| 3.39 |  |  | Dimethyl formamide |  |  |
| 3.40 |  |  | Acetaldehyde |  | МR 01.022-07 |
| 3.41 |  |  | Acetone |  |  |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |

| 3.42 | Leather and leather articles, clothing. Fur and fur articles, clothing | А56.Б09 А57.Б09 | Butyl alcohol (butanol) | Instruction 1.1.10-12-96- 2005 TR and other documentation | МR 01.022-07 |
| --- | --- | --- | --- | --- | --- |
| 3.43 |  |  | Methyl alcohol (methanol) |  |  |
| 3.44 |  |  | Vinyl acetate |  | МR 2915-82 |
| 3.45 |  |  | Caprolactam |  | МRNo. 1328-75 |
| 3.46 |  |  | Dimethyl terephthalate |  | МG No. 2704-83 |
| 3.47 |  |  | Methyl acrylate |  | МG 4.1.025-95 |
| 3.48 |  |  | M. methacrylate |  |  |
| 3.49 |  |  | Dioctyl phthalate |  | GOST 26150-84 |
| 3.50 |  |  | Dibutyl phthalate т |  |  |
| 3.51 |  |  | Phenol |  | МG 4.1.598-96 |
| 3.52 |  |  | Styrene |  | МR 01.023-07 |
| 3.53 |  |  | Xylenes |  |  |
| 3.54 |  |  | Toluene |  |  |
| 3.55 |  |  | Benzene |  |  |
| 3.56 |  |  | Chloroethene (vinyl chloride) |  | МG 4.1.1957-05 |
| 3.57 |  |  | Ethylene glycol |  | МG No. 3999-85 |
| 3.58 |  | А56.Б09 А57.Б09 | Identification (determination of applied materials) |  | STB 2132-2010 |
| 3.59 |  | А56.Б29 А57.Б29 | Climate conditions of tests performance |  | МG 4.1/4.3 1485- 03 GOST 938.29-2002 GOST 938.14-70 |
| 4.1 | Textile materials (fabrics, textile fabrics), articles made thereof, clothing, finished textile articles, artificial / synthetic leathers and articles made thereof and other products of light industry | А56.Б46 | Preparation of samples /sampling | Instruction 1.1.10-12-96- 2005 TR and other documentation | Instruction 1.1.10-12-96-2005 МG4.1/4.3.1485- 03 |
| 4.2 |  | А56.Б31 | Aqueous medium |  | МG 4.1/4.3 1485- |
|  |  |  | Odor intensity |  |  |
|  |  | А57.Б31 |  |  | 03 cl. 3.1 (Instr. |
|  |  |  |  |  | No. 880-71) |
|  |  |  |  |  | Instruction |
|  |  |  |  |  | 1.1.10-12-96-2005 |
|  |  |  |  |  | cl. 22, 24 |
| 4.3 |  | А56.Б27 | Toxicity index |  | GOST R 53485- |
|  |  | А57.Б27 |  |  | 2009 |
|  |  |  |  |  | МG 1.1.037-95 |
| 4.4 |  | А56.Б09 А57.Б09 | Content / mass fraction of free formaldehyde |  | GOST 25617-83 |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |

| 4.5 | Textile materials (fabrics, textile fabrics), articles made thereof, clothing, finished textile articles, artificial / synthetic leathers and articles made thereof and other products of light industry | А56.Б09 А57.Б09 | Acetaldehyde | Instruction 1.1.10-12- 96-2005 TR and other documentation | МR 01.024-07 МM МN 2558- 2006 |
| --- | --- | --- | --- | --- | --- |
| 4.6 |  | А56.Б09 А57.Б09 | Acrylonitril |  | МR 01.024-07 МG No.11-12-25-96 |
| 4.7 |  |  | Acetone |  | МR 01.024-07 МM МN 2558- 2006 |
| 4.8 |  |  | Methyl alcohol (methanol) |  | МR 01.024-07 |
| 4.9 |  |  | Butyl alcohol (butanol) |  |  |
| 4.10 |  |  | Benzene |  |  |
| 4.11 |  |  | Toluene |  |  |
| 4.12 |  |  | Vinyl acetate |  | МR 2915-82 |
| 4.13 |  |  | HMDA |  | МR 1503-76 |
| 4.14 |  | А56.Б09 А57.Б09 | Dimethyl terephthalate |  | МM МN 2367- 2005 |
| 4.15 |  |  | Dimethyl formamide |  | МG No.11-12-26-96 |
| 4.16 |  |  | Dibutyl phthalate |  | МR 01.025-07 |
|  |  |  |  |  | Instruction |
| 4.17 |  |  | Dioctyl phthalate |  |  |
|  |  |  |  |  | 4.1.10-15-92-2005 |
| 4.18 |  |  | Caprolactam |  | МG 4.1.1209-03 |
| 4.19 |  |  | Xylenes |  | МR 01.024-07 МG 4.1.1046-01 |
| 4.20 |  |  | Styrene |  | МR 01.024-07 МM МN 1401- 2000 |
| 4.21 |  |  | Thiuram Е |  | Instruction 4.1.10-15-92-2005 |
| 4.22 |  |  | Phenol |  | МM МN 1924- 2003 |
| 4.23 |  | А56.Б09 А57.Б09 | Chloroethene (vinyl chloride) |  | МR 1941-78 |
| 4.24 |  |  | Ethylene glycol |  | Instruction 2.3.3.10-15-64-2005 Instruction No. 880-71 |
| 4.25 |  |  | Methyl acrylate |  | МG 4.1.025-95 |
| 4.26 |  |  | M. methacrylate |  |  |
| 4.27 |  | А56.Б16 | Cadmium |  | STB GOST R |
|  |  | А57.Б16 |  |  | 51309-2001 sect. 4 |
| 4.28 |  |  | Zink |  |  |
|  |  |  |  |  | МM.МN 3057- |
| 4.29 |  |  | Cobalt |  | 2008 |
| 4.30 |  |  | Copper |  |  |
| 4.31 |  |  | Nickel |  |  |
| 4.32 |  |  | Lead |  |  |
| 4.33 |  |  | Chromium |  |  |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |

| 4.34 | Textile materials (fabrics, textile fabrics), articles made thereof, clothing, finished textile articles, artificial / synthetic leathers and articles made thereof and other products of light industry | А56.Б16 А57.Б16 | Arsenic | Instruction 1.1.10-12-96- 2005 TR and other documentation | STB GOST R 51309-2001 sect 4 |
| --- | --- | --- | --- | --- | --- |
| 4.35 |  |  | Mercury |  | STB GOST R 51212-2001 |
| 4.36 |  | А56.Б27 А57.Б27 | Air medium: |  | МG 1.1.037-95 МR No.29 MG/2688- 03 |
|  |  |  | Toxicity index |  |  |
| 4.37 |  | А56.Б09 А57.Б09 | Formaldehyde |  | МG No. 266-92 |
| 4.38 |  |  | Acrylonitril |  | МG 4.1.1044а-01 |
| 4.39 |  |  | Dimethyl formamide |  |  |
| 4.40 |  |  | Dimethyl terephthalate (DMT) |  | МG No. 2704-83 |
| 4.41 |  |  | Acetone |  | МR 01.022-07 |
| 4.42 |  |  | Acetaldehyde |  |  |
| 4.43 |  |  | Butyl alcohol (butanol) |  |  |
| 4.44 |  |  | Methyl alcohol (methanol) |  |  |
| 4.45 |  |  | Caprolactam |  | МR No. 1328-75 |
| 4.46 |  |  | Xylenes |  | МR01.023-07 |
| 4.47 |  |  | Methyl acrylate |  | МG 4.1.025-95 |
| 4.48 |  |  | M. methacrylate |  |  |
| 4.49 |  | А56.Б09 А57.Б09 | Styrene |  | МR 01.023-07 |
| 4.50 |  |  | Benzene |  |  |
| 4.51 |  |  | Toluene |  |  |
| 4.52 |  |  | Vinyl acetate |  | МR 2915-82 |
| 4.53 |  |  | Dibutyl phthalate |  | GOST 26150-84 |
| 4.54 |  |  | Dioctyl phthalate |  |  |
| 4.55 |  |  | Phenol |  | МG 4.1.598-96 |
| 4.56 |  |  | Chloroethene (vinyl chloride) |  | МG 4.1.1957-05 |
| 4.57 |  |  | Ethylene glycol |  | МG No. 3999-85 |
| 4.58 |  | А56.Б99 А57.Б99 | Electrostatic field strength level |  | SanPin No.9-29.7- 95 |
| 4.59 |  | А56.Б29 А57.Б29 | Climate conditions of tests performance |  | STB ISO 139-2008 МG 4.1/4.3 1485- 03 |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |

| 5.1 | Coatings and carpeting, thick felt, felt, nonwoven materials and finished articles made of these materials, other textile articles, etc. | А56.Б46 | Preparation of samples / sampling | GOST 30877-2003 GOST 28415-89 GOST 28867-90 TR and other documentation | Instruction 1.1.10-12-96-2005 МG 4.1/4.3.1485- 03 |
| --- | --- | --- | --- | --- | --- |
| 5.2 |  | А56.Б31 | Odor (mould) availability |  | GOST 30877-2003 cl.5.2 |
| 5.3 |  | А56.Б99 | Electrostatic field strength level |  | SanPin No.9-29.7- 95 GOST 30877-2003 cl.5.3 |
| 5.4 |  | А56.Б09 | Aqueous medium |  | GOST 314-72 cl.2.6 GOST 1059-72 cl.2.6 |
|  |  |  | Mass fraction of free sulfuric acid |  |  |
| 5.5 |  |  | Content / mass fraction of free formaldehyde |  | GOST 25617-83 |
| 5.6 |  |  | Acetaldehyde |  | МR 01.024-07 МM МN 2558- 2006 |
| 5.7 |  |  | Acetone |  |  |
| 5.8 |  |  | Acrylonitril |  | МR 01.024-07 МG No.11-12-25-96 |
| 5.9 |  | А56.Б09 | Benzene |  | МR 01.024-07 |
| 5.10 |  |  | Toluene |  |  |
| 5.11 |  |  | Methyl alcohol (methanol) |  |  |
| 5.12 |  |  | Vinyl acetate |  | МR 2915-82 |
| 5.13 |  |  | HMDA |  | МR 1503-76 |
| 5.14 |  |  | Dimethyl terephthalate |  | МM МN 2367- 2005 |
| 5.15 |  |  | Dimethyl formamide |  | МG No.11-12-26-96 |
| 5.16 |  | А56.Б09 | Dibutyl phthalate |  | МR 01.025-07 Instruction 4.1.10-15-92-2005 |
| 5.17 |  |  | Dioctyl phthalate |  |  |
| 5.18 |  |  | Капролактам |  | МG 4.1.1209-03 |
| 5.19 |  |  | Тиурам Е |  | Instruction 4.1.10-15-92-2005 |
| 5.20 |  |  | Chloroethene (vinyl chloride) |  | МR 1941-78 |
| 5.21 |  |  | Ethylene glycol |  | Instruction 2.3.3.10-15-64-2005 Instruction No.880-71 |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |

| 5.22 | Coatings and carpeting, thick felt, felt, nonwoven materials and finished articles made of these materials, other textile articles, etc. | А56.Б16 | Cadmium | GOST 30877-2003 GOST 28415-89 GOST 28867-90 TR and other documentation | STB GOST R 51309-2001 sect. 4 МM.МN 3057- 2008 |
| --- | --- | --- | --- | --- | --- |
| 5.23 |  |  | Zink |  |  |
| 5.24 |  |  | Cobalt |  |  |
| 5.25 |  |  | Copper |  |  |
| 5.26 |  |  | Nickel |  |  |
| 5.27 |  |  | Lead |  |  |
| 5.28 |  |  | Chromium |  |  |
| 5.29 |  |  | Arsenic |  | STB GOST R 51309-2001 sect. 4 |
| 5.30 |  | А56.Б27 | Toxicity index |  | GOST R 53485- 2009 МG 1.1.037-95 |
| 5.31 |  | А56.Б31 | Odor intensity |  | МG 4.1/4.3 1485- 03 cl. 3.1 (Instr. No. 880-71) Instruction 1.1.10-12-96-2005 cl. 22, 24 |
| 5.32 |  | А56.Б27 | Air medium: |  | МG 1.1.037-95 МR No.29 MG/2688- 03 |
|  |  |  | Toxicity index |  |  |
| 5.33 |  | А56.Б09 | Formaldehyde |  | МG No. 266-92 |
| 5.34 |  |  | Acrylonitril |  | МG 4.1.1044а-01 |
| 5.35 |  |  | Dimethyl formamide |  |  |
| 5.36 |  |  | DMTA |  | МG No. 2704-83 |
| 5.37 |  |  | Acetone |  | МR 01.022-07 |
| 5.38 |  |  | Acetaldehyde |  |  |
| 5.39 |  |  | Methyl alcohol (methanol) |  |  |
| 5.40 |  |  | Caprolactam |  | МR No. 1328-75 |
| 5.41 |  |  | Benzene |  | МR 01.023-07 |
| 5.42 |  |  | Toluene |  |  |
| 5.43 |  |  | Vinyl acetate |  | МR 2915-82 |
| 5.44 |  |  | Dibutyl phthalate |  | GOST 26150-84 |
| 5.45 |  |  | Dioctyl phthalate |  |  |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |

| 5.46 | Coatings and carpeting, thick felt, felt, nonwoven materials and finished articles made of these materials, other textile articles, etc. | А56.Б09 | Chloroethene (vinyl chloride | GOST 30877-2003 GOST 28415-89 GOST 28867-90 TR and other documentation | МG 4.1.1957-05 |
| --- | --- | --- | --- | --- | --- |
| 5.47 |  |  | Ethylene glycol |  | МG No. 3999-85 |

Head of the National

Accreditation Body of the Republic of Belarus -

Director of «BSCA» State Enterprise                                                Т.А. Nikolaeva

signature